Q1: The measure and value of a resistance is 10.25 Ω, whereas its value is  10.22 Ω. Determine the absolute error of the measurement.

Q2: The coil of a PMMC instrument has 60 turns, on a former that is 18 mm wide, the effective length of the conductor being 25 mm. It moves in a uniform field of flux density 0.5 tesla. The control spring constant is 1.5 × 10-6 Nm/degree. calculate the current required to produce a deflection of 100 degree.

Q3: A PMMC instrument has a coil of dimensions 15 mm × 12 mm. The flux density in the air gap is 1.8 × 10-3 wb/m2 and the spring constant is 0.14 × 10-6 N-m/rad. Determine the number of turns required to produce an angular deflection of 90° when a current of 5 mA is flowing through the coil.

Q4: A PMMC voltmeter with a resistance of 20 Ω gives a full scale deflection of 120° when a potential difference of 100 mV is applied across it. The moving coil has dimensions of 30 mm × 25 mm and is wound with 100 turns. The control spring constant is 0.375 × 10-6 N-m/degree. Find the flux density in the air gap.

Q5: A moving-coil voltmeter has a resistance of 100 Ω. The scale is divided into 150 equal divisions. When a potential difference of 1 V is applied to the terminals of the voltmeter a deflection of 100 divisions is obtained. Explain how the instrument could be used for measuring up to 300 V

Q6: A moving coil instrument has a resistance of 5 Ω and gives a full scale deflection of 10 mv. Show how the instrument may be used to measure (a) voltage up to 50 v, and (b) current up to 10 A.

Q7: A moving-coil instrument gives the full-scale deflection of 10 mA when the potential difference across its terminals is 100 mV. Calculate (a) the shunt resistance for a full-scale deflection corresponding to 100 A, and (b) the series resistance for full scale reading with 1000 V. Calculate the power dissipation in each case.