## Slide 1: بسم الله الرحمن الرحيم قالوا سبحانك لا علم لنا الا ما علمتنا انك انت العليم الحكيم
صدق الله العظيم

## Slide 2: Urinary catheterization prepared by Noura Mahmoud

## Slide 3: Out lines
Definition
purposes for urinary catheterization
diameter and types of urinary catheters
assessment before urinary catheterization
Equipment needed for urinary catheterization and catheter irrigation
Procedure of urinary catheterization male and female patients

## Slide 4: Definitions
Urinary Catheterization: means passing a rubber or plastic tube into the bladder via the urethra to drain urine from the bladder or to obtain a urine specimen. Catheterization is a sterile procedure
Urinary catheters: are hollow, partially flexible tubes that collect urine from the bladder

## Slide 5: Purposes:
A-Intermittent or short term catheterization:
1. Used to obtain a sample
2. To relieve bladder distention.
3. To keep the bladder empty.
4. Prevent urinary retention

## Slide 6: Purposes:
B-Long-term catheterization:
1. Are used to control incontinence.
2. Prevent retention.
3. Prevent the leakage of urine

## Slide 7: Diameters of the catheter
5Fr, 6fr, 8fr 10fr, 12fr, 14fr, 16fr, 18fr, 20fr, 22fr, 24fr, 26fr.
The higher the number the larger the diameter of the catheter.
3Fr = 1mm
Urinary catheters can be made of:
Rubber. Plastic (PVC) Silicone. Latex.

## Slide 8: Types of the catheters
Straight-single use catheters: have a single lumen with a small 1¼ cm opening

## Slide 9: Types of the catheters
2)way Foley catheters (retention catheters): have an inflatable balloon that
encircles the tip near the lumen or opening of the catheter.

## Slide 10: Types of the catheters
3)Curved or Coude: have a rounded curved tip (elbowed) used in older male
patients with enlarged prostates which partially obstruct the urethra

## Slide 11: Types of the catheters
3)way Foley catheter: often called retention catheter, they have 2 or 3 lumens that
encircle the body of the catheter

## Slide 12: Assessment before procedure
Assess the need for catheterization and the type of catheterization
Assess for the need for peritoneal care
Assess the urinary meatus for signs of infection or inflammation
Assess the client’s ability to assist with the procedure

## Slide 13: Assessment before procedure
Assess the client’s ability to assist with the procedure
Assess the light
Assess for an allergy to povidone-iodine and/or latex
Watch for indications of distress or embarrassment

## Slide 14: Equipment:
Indwelling or straight catheter with drainage system
Sterile catheterization kit
Adequate lighting source
Disposable gloves
Sterile gloves
Blanket or drape
Soap and washcloth 8. Warm water
Scale
Towel
Forceps

## Slide 15: Procedure
Fundamental steps
Position during the insertion
Ensure adequate lighting
Apply disposable gloves, and wash perineal area
Remove gloves and wash hands

## Slide 16: Procedure
Open the catheterization kit, using aseptic technique
If the catheter is not included in the kit, carefully drop the sterile catheter onto the field
Apply sterile gloves

## Slide 17: Procedure
Attach the catheter to the urine drainage bag
Place the drape from the catheterization kit over the client’s perineal area
coat the distal portion of the catheter with water-soluble, sterile lubricant

## Slide 18: Procedure
cleanse the penis/labia minora with a povidone iodine solution or other antimicrobial cleanser
Inject 10 ml sterile, water-soluble lubricant (use a 2% Xylocaine lubricant
insert the catheter about 8 inches, until urine is noted in the drainage bag or tubing

## Slide 19: procedure
If the catheter will be removed as soon as the client’s bladder is empty, insert the catheter another inch,
Attach the air or water-filled syringe to the inflation port.
Instruct the client to immediately report discomfort

## Slide 20: procedure
gently pull the catheter until the retention balloon is resting against the bladder neck
Secure the catheter
Place the drainage bag below the level of the bladder.

## Slide 21: procedure
Remove gloves, dispose of equipment,
Help client adjust position
Assess and document the amount, color, odor, and
quality of urine

## Slide 22: Catheter care
Place waterproof pad under patient. Provide routine perineal care with soap and water
Assess urethral meatus and surrounding tissues for inflammation,
Using a clean washcloth, soap, and water, cleans the catheter in a circular motion

## Slide 23: Catheter care
Replace, as necessary, the adhesive tape (remove any adhesive residue from skin
Avoid placing tension on the catheter
Empty collection bag when one-half full.

## Slide 24: Catheter removal
A- Place waterproof pad:
(1) Between female’s thighs (if in supine position).
(2) Over male’s thighs
Remove adhesive tape or tube holder used to secure and anchor catheter.
Insert hub of syringe into inflation valve (balloon
port). Allow sterile water to return into syringe by
gravity

## Slide 25: Catheter removal
Pull catheter out slowly and gently while wrapping contaminated catheter in waterproof pad.
Reposition patient as necessary
Empty, measure, and record urine present in
drainage bag
Observe time the patient urinates, and measure
the urine; assess urine characteristics

## Slide 26: Documentation post procedure
• Record the time and date the catheter was inserted.
• Note the size and type of catheter used,
• Record the client’s response to the procedure and the amount, color of urine
Intake and Output Record
• Record the amount of urine returned

## Slide 27: Thank you