Sheet # 2

- Explain the main elements of the exact equivalent circuit of a transformer?

- Draw the equivalent circuit referred to its primary side?

- Explain why there is a small current flowing in the primary winding of the transformer in the case of no load connected to its secondary?

- Explain how we can experimentally determine the parameters of the approximate equivalent circuit of the transformer? (open circuit & short circuit tests)

--------------------------------------------------------------------------------------------------

(True or false ):

- "short circuit test can be performed at full rated voltage"?

- "the current flowing in primary winding is independent of the load connected to secondary winding"?

- Ideal transformer has 100 % regulation and efficiency?

- The higher the rating of a transformer, the greater is its efficiency?.

- Iron loses (hence, transformer efficiency) does not depend on the operating frequency?

- It is easy to connect two transformers in parallel to increase the overall "KVA" output?

--------------------------------------------------------------------------------------------------

- The equivalent circuit impedances of a 20-kVA, 8000/240-V, 60-Hz Transformer is to be determined through the open-circuit test and the short-circuit test that performed on the primary side of the transformer, and the following data were taken:

Find the impedances of the approximate equivalent circuit referred to the primary side, and sketch the circuit.